## Sheet1
Building Name | Utility | Meter Name | Meter # | Multiplier | Read for 1/31 | 2011-02-01 | 2011-02-02 | 2011-02-03 | 2011-02-04 | 2011-02-07 | 2011-02-08 | 2011-02-09 | 2011-02-10 | 2011-02-11 | 2011-02-14 | 2011-02-15 | 2011-02-16 | 2011-02-17 | 2011-02-18 | 2011-02-21 | 2011-02-22 | 2011-02-23 | 2011-02-24 | 2011-02-25 | 2011-02-28
Meter Reads
Kerr Administration | Electricity | Kerr | 061-994-LG | 300 | 24902 | 24917 | 24932 | 24946 | 24960 | 24996 | 25010 | 25025 | 25039 | 25053 | 25088 | 25102 | 25116 | 25132 | 25146 | 25180
| Electricity | Kerr | 061-756-NI | 160 | 1640 | 1690.5 | 1741 | 1790 | 1838.2 | 1965.5 | 2015 | 2065 | 2116.5 | 2162.5 | 2287 | 2337 | 2388 | 2438.5 | 2488.5 | 2613
| Steam | Admin A | 061-002-S | 100 | 6340 | 6346 | 6351 | 6354 | 6359 | 6375 | 6379 | 6380 | 6386 | 6394 | 6401 | 6414 | 6430 | 6446 | 6449 | 6464
| Steam | Admin B | 061-001-S | 100 | 9008 | 9022 | 9037 | 9051 | 9063 | 9099 | 9103 | 9118 | 9134 | 9158 | 9187 | 9223 | 9241 | 9261 | 9287 | 9311
Kelley Engineering | Electricity | Temp Up & Down Engnrg Center-Kelley | 23667973 | 300 | 7848 | 7852 | 7856 | 7860 | 7863 | 7874 | 7878 | 7882 | 7886 | 7889 | 7899 | 7903 | 7907 | 7911 | 7914 | 7924
| Electricity | Kelley Eng Center | 23667971 | 400 | 34479 | 34498 | 34517 | 34537 | 34554 | 34608 | 34625 | 34644 | 34663 | 34681 | 34733 | 34751 | 34772 | 34790 | 34808 | 34859
| Steam | Kelley Engineering | 003-000-S | 100 | 347722 | 348132 | 348569 | 348945 | 349240 | 349890 | 350258 | 350702 | 351128 | 351499 | 352187 | 352643 | 353099 | 353550 | 354069 | 355074
Results
Category % Difference
Category Gross Difference
Overall |  |  |  | Days Left in Challenge | 28 | 27 | 26 | 25 | 24 | 21 | 20 | 19 | 18 | 17 | 14 | 13 | 12 | 11 | 10 | 7 | 6 | 5 | 4 | 3 | 0
Cost Per 1000 lbs (steam) | 19.5 | Cost per kWh | 0.05 | Estimated Prize $
Kerr Administration |  |  |  | Actual daily Total Energy (MMBtu)
Gross Change in Energy Cumulative
% Difference vs. Baseline Total Energy (MMbtu) daily
% Change Total Energy vs. Baseline (MMbtu) cumulative
Kelley Engineering |  |  |  | Actual daily Total Energy (MMBtu)
Gross Change in Energy Cumulative
% Difference vs. Baseline Total Energy (MMbtu) daily
% Difference vs. Baseline Total Energy (MMbtu) cumulative
Kerr Administration Calculations |  |  |  | Baseline daily electricity (kWh) |  | 9862 | 9862 | 9862 | 9862 | 27980.5 | 9862 | 9862 | 9862 | 9862 | 27980.5 | 9862 | 9862 | 9862 | 9862 | 27980.5 | 9862 | 9862 | 9862 | 9862 | 27980.5
|  |  |  | Baseline daily Steam (lbs) |  | 2039 | 2039 | 2039 | 2039 | 5785.5 | 2039 | 2039 | 2039 | 2039 | 5785.5 | 2039 | 2039 | 2039 | 2039 | 5785.5 | 2039 | 2039 | 2039 | 2039 | 5785.5
Baseline daily Total Energy (MMBtu)
Baseline cumulative electricity (kWh)
Baseline cumulative Steam (lbs)
Baseline cumulative Total Energy (MMBtu)
Actual daily Electricity (kWh)
Actual daily Steam (lbs)
Actual daily Total Energy (MMBtu)
Actual cumulative electricity (kwh)
Actual cumulative Steam (lbs)
Actual cumulative Total Energy (MMbtu)
% Difference vs. Baseline Electricity (kWh) daily
% Difference vs. Baseline Total Energy (MMbtu) daily
% Difference vs. Baseline Electricity (kWh) cumulative
% Difference vs. Baseline Total Energy (MMbtu) cumulative
Kelley Engineering Calculations |  |  |  | Baseline daily electricity (kWh) |  | 7371 | 7371 | 7371 | 7371 | 20914.2 | 7371 | 7371 | 7371 | 7371 | 20914.2 | 7371 | 7371 | 7371 | 7371 | 20914.2 | 7371 | 7371 | 7371 | 7371 | 20914.2
|  |  |  | Baseline daily Steam (lbs) |  | 38743 | 38743 | 38743 | 38743 | 109919.9 | 38743 | 38743 | 38743 | 38743 | 109919.9 | 38743 | 38743 | 38743 | 38743 | 109919.9 | 38743 | 38743 | 38743 | 38743 | 109919.9
Baseline daily Total Energy (MMBtu)
Baseline cumulative electricity (kWh)
Baseline cumulative Steam (lbs)
Baseline cumulative Total Energy (MMBtu)
Actual daily Electricity (kWh)
Actual daily Steam (lbs)
Actual daily Total Energy (MMBtu)
Actual cumulative electricity (kwh)
Actual cumulative Steam (lbs)
Actual cumulative Total Energy (MMbtu)
% Difference vs. Baseline Electricity (kWh) daily
% Difference vs. Baseline Total Energy (MMbtu) daily
% Difference vs. Baseline Electricity (kWh) cumulative
% Difference vs. Baseline Total Energy (MMbtu) cumulative