## Sheet1
Building Name | Utility | Meter Name | Meter # | Multiplier | Read for 1/31 | 2011-02-01 | 2011-02-02 | 2011-02-03 | 2011-02-04 | 2011-02-07 | 2011-02-08 | 2011-02-09 | 2011-02-10 | 2011-02-11 | 2011-02-14 | 2011-02-15 | 2011-02-16 | 2011-02-17 | 2011-02-18 | 2011-02-21 | 2011-02-22 | 2011-02-23 | 2011-02-24 | 2011-02-25 | 2011-02-28
Meter Reads
Adams Hall | Electricity | ADAMS HALL | 060-Adams | 1 | 920971.5 | 921198.2 | 921432 | 921652.7 | 921892.5 | 922419 | 922640.7 | 922851.6 | 923081 | 923298.3 | 923836.2 | 924079 | 924319 | 924540 | 924757 | 925226
Bexell Hall | Electricity | BEXELL | 018-Bexell | 1 | 3328808 | 3329725 | 3330557 | 3331389 | 3332136 | 3334023 | 3334854 | 3335683 | 3336489 | 3337189 | 3338974 | 3339780 | 3340651 | 3341534 | 3342271 | 3343918
Moreland Hall | Electricity | MORELAND | 106-506-NO | 120 | 8113.5 | 8117 | 8120.3 | 8123 | 8125.5 | 8132 | 8135 | 8139 | 8142 | 8145 | 8152 | 8154.5 | 8158 | 8161 | 8164.3 | 8172
Results
Category % Difference
Category Gross Difference
Overall |  |  |  | Days Left in Challenge | 28 | 27 | 26 | 25 | 24 | 21 | 20 | 19 | 18 | 17 | 14 | 13 | 12 | 11 | 10 | 7 | 6 | 5 | 4 | 3 | 0
Cost Per Therm (NG) | 0.93 | Cost per kWh | 0.05 | Estimated Prize $
Adams Hall |  |  |  | Actual daily Electricity (kWh)
Gross Change in Energy Cumulative
% Difference vs. Baseline Electricity (kWh) daily
% Difference vs. Baseline Electricity (kWh) cumulative
Bexell Hall |  |  |  | Actual daily Electricity (kWh)
Gross Change in Energy Cumulative
% Difference vs. Baseline Electricity (kWh) daily
% Difference vs. Baseline Electricity (kWh) cumulative
Moreland Hall |  |  |  | Actual daily Electricity (kWh)
Gross Change in Energy Cumulative
% Difference vs. Baseline Electricity (kWh) daily
% Difference vs. Baseline Electricity (kWh) cumulative
Adams Hall Calculations |  |  |  | Baseline daily electricity (kWh) |  | 247 | 247 | 247 | 247 | 701.6 | 247 | 247 | 247 | 247 | 701.6 | 247 | 247 | 247 | 247 | 701.6 | 247 | 247 | 247 | 247 | 701.6
|  |  |  | Baseline daily Natural gas (therms) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Baseline daily Total Energy (MMBtu)
Baseline cumulative electricity (kWh)
Baseline cumulative Natural Gas (therms)
Baseline cumulative Total Energy (MMBtu)
Actual daily Electricity (kWh)
|  |  |  | Actual daily Natural Gas (therms) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actual daily Total Energy (MMBtu)
Actual cumulative electricity (kwh)
Actual cumulative Natural Gas (therms)
Actual cumulative Total Energy (MMbtu)
% Difference vs. Baseline Electricity (kWh) daily
% Difference vs. Baseline Total Energy (MMbtu) daily
% Difference vs. Baseline Electricity (kWh) cumulative
% Difference vs. Baseline Total Energy (MMbtu) cumulative
Bexell Hall Calculations |  |  |  | Baseline daily electricity (kWh) |  | 905 | 905 | 905 | 905 | 2568.7 | 905 | 905 | 905 | 905 | 2568.7 | 905 | 905 | 905 | 905 | 2568.7 | 905 | 905 | 905 | 905 | 2568.7
|  |  |  | Baseline daily Natural gas (therms) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Baseline daily Total Energy (MMBtu)
Baseline cumulative electricity (kWh)
Baseline cumulative Natural Gas (therms)
Baseline cumulative Total Energy (MMBtu)
Actual daily Electricity (kWh)
|  |  |  | Actual daily Natural Gas (therms) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actual daily Total Energy (MMBtu)
Actual cumulative electricity (kwh)
Actual cumulative Natural Gas (therms)
Actual cumulative Total Energy (MMbtu)
% Difference vs. Baseline Electricity (kWh) daily
% Difference vs. Baseline Total Energy (MMbtu) daily
% Difference vs. Baseline Electricity (kWh) cumulative
% Difference vs. Baseline Total Energy (MMbtu) cumulative
Moreland Hall Calculations |  |  |  | Baseline daily electricity (kWh) |  | 380 | 380 | 380 | 380 | 1079 | 380 | 380 | 380 | 380 | 1079 | 380 | 380 | 380 | 380 | 1079 | 380 | 380 | 380 | 380 | 1079
|  |  |  | Baseline daily Natural gas (therms) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Baseline daily Total Energy (MMBtu)
Baseline cumulative electricity (kWh)
|  |  |  | Baseline cumulative Natural Gas (therms) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Baseline cumulative Total Energy (MMBtu)
Actual daily Electricity (kWh)
|  |  |  | Actual daily Natural Gas (therms) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actual daily Total Energy (MMBtu)
Actual cumulative electricity (kwh)
|  |  |  | Actual cumulative Natural Gas (therms) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actual cumulative Total Energy (MMbtu)
% Difference vs. Baseline Electricity (kWh) daily
% Difference vs. Baseline Total Energy (MMbtu) daily
% Difference vs. Baseline Electricity (kWh) cumulative
% Difference vs. Baseline Total Energy (MMbtu) cumulative